## Derived Metrics
Device | FlowID | Label | Throughput_normal_MB | Throughput_attack_MB | OWD_normal_s | OWD_attack_s | PDV_normal_s | PDV_attack_s | PacketLoss_normal_pct | PacketLoss_attack_pct | TRR_pct | PDR_pct | PLR_pctpoints | NDI_pct | JVI_pct | ASI_score | ASI_Severity | ASI_Severity_Color | C_score | I_score | A_score | RiskScore | RiskLabel | RiskLabel_Color | NHS_Likelihood | NHS_Impact | NHS_RiskScore | NHS_RAG | DominantMetric | CAF_DSPT_Domain | FHIR_Security_Dimension | ControlGap_ISO27001_A12_6_1_2 | Mitigation | Severity | PriorityScore | ActionLevel | CriticalityFactor | CompleteLoss | ThreatCategory | IEC62443_Zone | IEC62443_RecSL | PrivacyImpactLevel | CIA_Compliance | ISO13485_Note
WIP | 1 | 1 | 0.00037312 | 0.00037312 | 0 | 0 | 0 | 0 | 0 | 0 | 99.8548 | 0 | 0 | 100 | 100 | 69.9419 | High | #e57373 | 23.0808 | 23.0808 | 23.7802 | 69.9419 | High | #e57373 | 4 | 2 | 8 | Orange | Throughput | B - Protecting against cyber attack | Availability | Yes | Investigate bandwidth/path, QoS, encryption, routing. Escalate immediately; incident response. | High | 69.94 | Warning | 1 | No | Network interception / message tampering | IEC62443 Zone 1 (Clinical Wi-Fi LAN) | 3 | High | Non-Compliant | ISO13485-aligned device QMS required
WIP | 2 | 1 | 0.0045174 | 0.0061365 | 0.0076026 | 0.0055911 | 0 | 0 | 0 | 0 | 97.6116 | 73.5422 | 0 | 26.4578 | 100 | 54.3362 | High | #e57373 | 17.9309 | 17.9309 | 18.4743 | 54.3362 | High | #e57373 | 4 | 2 | 8 | Orange | Throughput | B - Protecting against cyber attack | Availability | Yes | Investigate bandwidth/path, QoS, encryption, routing. Escalate immediately; incident response. | High | 54.34 | Warning | 1 | No | Network interception / message tampering | IEC62443 Zone 1 (Clinical Wi-Fi LAN) | 3 | High | Non-Compliant | ISO13485-aligned device QMS required
WIP | 3 | 1 | 0.063759 | 0.063962 | 0.00094866 | 0.00069903 | 0.00070431 | 0.00045954 | 0.26836 | 0.0070621 | 75.1053 | 24.7208 | 1.938 | 75.2792 | 58.042 | 51.4836 | High | #e57373 | 16.9896 | 16.9896 | 17.5044 | 51.4836 | High | #e57373 | 4 | 2 | 8 | Orange | Throughput | B - Protecting against cyber attack | Availability | Yes | Investigate bandwidth/path, QoS, encryption, routing. Escalate immediately; incident response. | High | 51.48 | Warning | 1 | No | Network interception / message tampering | IEC62443 Zone 1 (Clinical Wi-Fi LAN) | 3 | High | Non-Compliant | ISO13485-aligned device QMS required
WIP | 4 | 1 | 0.033496 | 0.033627 | 0.0021984 | 0.0016282 | 0.00092993 | 0.00074919 | 0.39548 | 0.042373 | 86.9121 | 57.5804 | 10.7143 | 42.4196 | 31.5959 | 49.6226 | Medium | #ffb74d | 16.3755 | 16.3755 | 16.8717 | 49.6226 | Medium | #ffb74d | 3 | 2 | 6 | Amber | Throughput | B - Protecting against cyber attack | Availability | No | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation. | Medium | 49.62 | Normal | 1 | No | Network interception / message tampering | IEC62443 Zone 1 (Clinical Wi-Fi LAN) | 3 | Medium | Non-Compliant | ISO13485-aligned device QMS required
WIP | 5 | 1 | 0.033495 | 0.03361 | 0.002227 | 0.0020117 | 0.0010109 | 0.00096962 | 0.38136 | 0.091808 | 86.9187 | 71.1419 | 24.0741 | 28.8581 | 11.4695 | 48.9083 | Medium | #ffb74d | 16.1397 | 16.1397 | 16.6288 | 48.9083 | Medium | #ffb74d | 3 | 2 | 6 | Amber | Throughput | B - Protecting against cyber attack | Availability | No | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation. | Medium | 48.91 | Normal | 1 | No | Network interception / message tampering | IEC62443 Zone 1 (Clinical Wi-Fi LAN) | 3 | Medium | Non-Compliant | ISO13485-aligned device QMS required
WIP | 6 | 1 | 0.032928 | 0.033622 | 0.0026216 | 0.0020701 | 0.0011856 | 0.0010801 | 2.0551 | 0.056497 | 86.9141 | 73.2075 | 2.7491 | 26.7925 | 8.8926 | 41.8382 | Medium | #ffb74d | 13.8066 | 13.8066 | 14.225 | 41.8382 | Medium | #ffb74d | 3 | 2 | 6 | Amber | Throughput | B - Protecting against cyber attack | Availability | No | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation. | Medium | 41.84 | Normal | 1 | No | Network interception / message tampering | IEC62443 Zone 1 (Clinical Wi-Fi LAN) | 3 | Medium | Non-Compliant | ISO13485-aligned device QMS required
WIP | 7 | 1 | 0.033495 | 0.033584 | 0.0024643 | 0.0022898 | 0.0011318 | 0.0011073 | 0.39548 | 0.16949 | 86.9289 | 80.9775 | 42.8571 | 19.0225 | 2.1659 | 51.6498 | High | #e57373 | 17.0444 | 17.0444 | 17.5609 | 51.6498 | High | #e57373 | 4 | 2 | 8 | Orange | Throughput | B - Protecting against cyber attack | Availability | Yes | Investigate bandwidth/path, QoS, encryption, routing. Escalate immediately; incident response. | High | 51.65 | Warning | 1 | No | Network interception / message tampering | IEC62443 Zone 1 (Clinical Wi-Fi LAN) | 3 | High | Non-Compliant | ISO13485-aligned device QMS required
WIP | 8 | 1 | 0.033512 | 0.033603 | 0.0023969 | 0.0021063 | 0.0011053 | 0.0011008 | 0.33898 | 0.11299 | 86.9214 | 74.487 | 31.0078 | 25.513 | 0.40856 | 49.2143 | Medium | #ffb74d | 16.2407 | 16.2407 | 16.7329 | 49.2143 | Medium | #ffb74d | 3 | 2 | 6 | Amber | Throughput | B - Protecting against cyber attack | Availability | No | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation. | Medium | 49.21 | Normal | 1 | No | Network interception / message tampering | IEC62443 Zone 1 (Clinical Wi-Fi LAN) | 3 | Medium | Non-Compliant | ISO13485-aligned device QMS required
WIP | 9 | 1 | 0.033448 | 0 | 0.0015641 | 0 | 0.0007119 | 0 | 0.58413 | 81.4899 | 100 | 0 | 100 | 100 | 100 | 100 | High | #e57373 | 33 | 33 | 34 | 100 | Critical | #b71c1c | 5 | 3 | 15 | Red | Throughput | B - Protecting against cyber attack | Availability | Yes | CRITICAL: Complete packet loss detected. Investigate bandwidth/path, QoS, encryption, routing. Emergency response required. | High | 100 | Critical | 1 | Yes | Network interception / message tampering | IEC62443 Zone 1 (Clinical Wi-Fi LAN) | 3 | High | Non-Compliant | ISO13485-aligned device QMS required
SHS | 1 | 1 | 0.00037312 | 0.00037312 | 0 | 0 | 0 | 0 | 0 | 0 | 99.8512 | 0 | 0 | 100 | 100 | 79.9702 | High | #e57373 | 26.3902 | 26.3902 | 27.1899 | 79.9702 | Critical | #b71c1c | 5 | 3 | 15 | Red | Delay | D - Minimising impact of incidents | Availability | Yes | Investigate latency sources, queueing; implement redundancy/QoS. Escalate immediately; incident response. | High | 67.97 | Warning | 0.85 | No | Network interception / message tampering | IEC62443 Zone 2 (Bluetooth P2P / Companion Device) | 2 | High | Non-Compliant | ISO13485-aligned device QMS required
SHS | 2 | 1 | 0.0045174 | 0.0061365 | 0.0076026 | 0.0055911 | 0 | 0 | 0 | 0 | 97.5524 | 73.5422 | 0 | 26.4578 | 100 | 57.4478 | High | #e57373 | 18.9578 | 18.9578 | 19.5323 | 57.4478 | High | #e57373 | 4 | 2 | 8 | Orange | Jitter | C - Detecting cyber security events | Integrity | Yes | Examine scheduling/buffers; apply smoothing/buffering. Escalate immediately; incident response. | High | 48.83 | Normal | 0.85 | No | Network interception / message tampering | IEC62443 Zone 2 (Bluetooth P2P / Companion Device) | 2 | High | Non-Compliant | ISO13485-aligned device QMS required
SHS | 3 | 1 | 0.063759 | 0.063962 | 0.00094866 | 0.00069903 | 0.00070431 | 0.00045954 | 0.26836 | 0.0070621 | 74.488 | 28.5837 | 0.85936 | 71.4163 | 39.7509 | 48.4197 | Medium | #ffb74d | 15.9785 | 15.9785 | 16.4627 | 48.4197 | Medium | #ffb74d | 3 | 2 | 6 | Amber | Delay | D - Minimising impact of incidents | Availability | No | Investigate latency sources, queueing; implement redundancy/QoS. Increase monitoring & schedule remediation. | Medium | 41.16 | Normal | 0.85 | No | Network interception / message tampering | IEC62443 Zone 2 (Bluetooth P2P / Companion Device) | 2 | Medium | Non-Compliant | ISO13485-aligned device QMS required
SHS | 4 | 1 | 0.033496 | 0.033627 | 0.0021984 | 0.0016282 | 0.00092993 | 0.00074919 | 0.39548 | 0.042373 | 86.5875 | 66.578 | 5.1562 | 33.422 | 19.4359 | 34.2061 | Medium | #ffb74d | 11.288 | 11.288 | 11.6301 | 34.2061 | Medium | #ffb74d | 3 | 2 | 6 | Amber | Throughput | B - Protecting against cyber attack | Availability | No | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation. | Medium | 29.08 | Normal | 0.85 | No | Network interception / message tampering | IEC62443 Zone 2 (Bluetooth P2P / Companion Device) | 2 | Medium | Non-Compliant | ISO13485-aligned device QMS required
SHS | 5 | 1 | 0.033495 | 0.03361 | 0.002227 | 0.0020117 | 0.0010109 | 0.00096962 | 0.38136 | 0.091808 | 86.5943 | 82.2586 | 11.1717 | 17.7414 | 4.0813 | 26.1 | Medium | #ffb74d | 8.613 | 8.613 | 8.874 | 26.1 | Medium | #ffb74d | 3 | 1 | 3 | Green | Throughput | B - Protecting against cyber attack | Availability | No | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation. | Medium | 22.18 | Normal | 0.85 | No | Network interception / message tampering | IEC62443 Zone 2 (Bluetooth P2P / Companion Device) | 2 | Medium | Non-Compliant | ISO13485-aligned device QMS required
SHS | 6 | 1 | 0.032928 | 0.033622 | 0.0026216 | 0.0020701 | 0.0011856 | 0.0010801 | 2.0551 | 0.056497 | 86.5896 | 78.9634 | 2.7491 | 21.0366 | 8.8926 | 26.8465 | Medium | #ffb74d | 8.8593 | 8.8593 | 9.1278 | 26.8465 | Medium | #ffb74d | 3 | 1 | 3 | Green | Throughput | B - Protecting against cyber attack | Availability | No | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation. | Medium | 22.82 | Normal | 0.85 | No | Network interception / message tampering | IEC62443 Zone 2 (Bluetooth P2P / Companion Device) | 2 | Medium | Non-Compliant | ISO13485-aligned device QMS required
SHS | 7 | 1 | 0.033495 | 0.033584 | 0.0024643 | 0.0022898 | 0.0011318 | 0.0011073 | 0.39548 | 0.16949 | 86.6048 | 92.9178 | 20.6246 | 7.0822 | 2.1659 | 24.2203 | Low | #ffd54f | 7.9927 | 7.9927 | 8.2349 | 24.2203 | Low | #ffd54f | 2 | 1 | 2 | Green | Throughput | B - Protecting against cyber attack | Availability | No | Investigate bandwidth/path, QoS, encryption, routing. | Low | 20.59 | Normal | 0.85 | No | Network interception / message tampering | IEC62443 Zone 2 (Bluetooth P2P / Companion Device) | 2 | Low | Compliant | ISO13485-aligned device QMS required
SHS | 8 | 1 | 0.033512 | 0.033603 | 0.0023969 | 0.0021063 | 0.0011053 | 0.0011008 | 0.33898 | 0.11299 | 86.5971 | 86.1264 | 13.7497 | 13.8736 | 0.40856 | 24.354 | Low | #ffd54f | 8.0368 | 8.0368 | 8.2804 | 24.354 | Low | #ffd54f | 2 | 1 | 2 | Green | Throughput | B - Protecting against cyber attack | Availability | No | Investigate bandwidth/path, QoS, encryption, routing. | Low | 20.7 | Normal | 0.85 | No | Network interception / message tampering | IEC62443 Zone 2 (Bluetooth P2P / Companion Device) | 2 | Low | Compliant | ISO13485-aligned device QMS required
SHS | 9 | 1 | 0.033448 | 0 | 0.0015641 | 0 | 0.0007119 | 0 | 0.58413 | 81.4899 | 100 | 0 | 100 | 100 | 100 | 100 | High | #e57373 | 33 | 33 | 34 | 100 | Critical | #b71c1c | 5 | 3 | 15 | Red | Delay | D - Minimising impact of incidents | Availability | Yes | CRITICAL: Complete packet loss detected. Investigate latency sources, queueing; implement redundancy/QoS. Emergency response required. | High | 85 | Critical | 0.85 | Yes | Network interception / message tampering | IEC62443 Zone 2 (Bluetooth P2P / Companion Device) | 2 | High | Non-Compliant | ISO13485-aligned device QMS required

## Mitigations by Flow
Device | FlowID | ASI_score | Severity | Mitigation | PriorityScore | ActionLevel | CriticalityFactor
WIP | 1 | 69.9419 | High | Investigate bandwidth/path, QoS, encryption, routing. Escalate immediately; incident response. | 69.94 | Warning | 1
WIP | 2 | 54.3362 | High | Investigate bandwidth/path, QoS, encryption, routing. Escalate immediately; incident response. | 54.34 | Warning | 1
WIP | 3 | 51.4836 | High | Investigate bandwidth/path, QoS, encryption, routing. Escalate immediately; incident response. | 51.48 | Warning | 1
WIP | 4 | 49.6226 | Medium | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation. | 49.62 | Normal | 1
WIP | 5 | 48.9083 | Medium | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation. | 48.91 | Normal | 1
WIP | 6 | 41.8382 | Medium | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation. | 41.84 | Normal | 1
WIP | 7 | 51.6498 | High | Investigate bandwidth/path, QoS, encryption, routing. Escalate immediately; incident response. | 51.65 | Warning | 1
WIP | 8 | 49.2143 | Medium | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation. | 49.21 | Normal | 1
WIP | 9 | 100 | High | CRITICAL: Complete packet loss detected. Investigate bandwidth/path, QoS, encryption, routing. Emergency response required. | 100 | Critical | 1
SHS | 1 | 79.9702 | High | Investigate latency sources, queueing; implement redundancy/QoS. Escalate immediately; incident response. | 67.97 | Warning | 0.85
SHS | 2 | 57.4478 | High | Examine scheduling/buffers; apply smoothing/buffering. Escalate immediately; incident response. | 48.83 | Normal | 0.85
SHS | 3 | 48.4197 | Medium | Investigate latency sources, queueing; implement redundancy/QoS. Increase monitoring & schedule remediation. | 41.16 | Normal | 0.85
SHS | 4 | 34.2061 | Medium | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation. | 29.08 | Normal | 0.85
SHS | 5 | 26.1 | Medium | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation. | 22.18 | Normal | 0.85
SHS | 6 | 26.8465 | Medium | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation. | 22.82 | Normal | 0.85
SHS | 7 | 24.2203 | Low | Investigate bandwidth/path, QoS, encryption, routing. | 20.59 | Normal | 0.85
SHS | 8 | 24.354 | Low | Investigate bandwidth/path, QoS, encryption, routing. | 20.7 | Normal | 0.85
SHS | 9 | 100 | High | CRITICAL: Complete packet loss detected. Investigate latency sources, queueing; implement redundancy/QoS. Emergency response required. | 85 | Critical | 0.85

## Plots
Note
WIP Plots
SHS Plots

## CAF-DSPT Mapping
Device | FlowID | DominantMetric | CAF_DSPT_Domain | ASI | RiskLabel | ASI_Severity_Color | RiskLabel_Color | Mitigation
WIP | 1 | Throughput | B - Protecting against cyber attack | 69.9419 | High | #e57373 | #e57373 | Investigate bandwidth/path, QoS, encryption, routing. Escalate immediately; incident response.
WIP | 2 | Throughput | B - Protecting against cyber attack | 54.3362 | High | #e57373 | #e57373 | Investigate bandwidth/path, QoS, encryption, routing. Escalate immediately; incident response.
WIP | 3 | Throughput | B - Protecting against cyber attack | 51.4836 | High | #e57373 | #e57373 | Investigate bandwidth/path, QoS, encryption, routing. Escalate immediately; incident response.
WIP | 4 | Throughput | B - Protecting against cyber attack | 49.6226 | Medium | #ffb74d | #ffb74d | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation.
WIP | 5 | Throughput | B - Protecting against cyber attack | 48.9083 | Medium | #ffb74d | #ffb74d | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation.
WIP | 6 | Throughput | B - Protecting against cyber attack | 41.8382 | Medium | #ffb74d | #ffb74d | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation.
WIP | 7 | Throughput | B - Protecting against cyber attack | 51.6498 | High | #e57373 | #e57373 | Investigate bandwidth/path, QoS, encryption, routing. Escalate immediately; incident response.
WIP | 8 | Throughput | B - Protecting against cyber attack | 49.2143 | Medium | #ffb74d | #ffb74d | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation.
WIP | 9 | Throughput | B - Protecting against cyber attack | 100 | Critical | #e57373 | #b71c1c | CRITICAL: Complete packet loss detected. Investigate bandwidth/path, QoS, encryption, routing. Emergency response required.
SHS | 1 | Delay | D - Minimising impact of incidents | 79.9702 | Critical | #e57373 | #b71c1c | Investigate latency sources, queueing; implement redundancy/QoS. Escalate immediately; incident response.
SHS | 2 | Jitter | C - Detecting cyber security events | 57.4478 | High | #e57373 | #e57373 | Examine scheduling/buffers; apply smoothing/buffering. Escalate immediately; incident response.
SHS | 3 | Delay | D - Minimising impact of incidents | 48.4197 | Medium | #ffb74d | #ffb74d | Investigate latency sources, queueing; implement redundancy/QoS. Increase monitoring & schedule remediation.
SHS | 4 | Throughput | B - Protecting against cyber attack | 34.2061 | Medium | #ffb74d | #ffb74d | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation.
SHS | 5 | Throughput | B - Protecting against cyber attack | 26.1 | Medium | #ffb74d | #ffb74d | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation.
SHS | 6 | Throughput | B - Protecting against cyber attack | 26.8465 | Medium | #ffb74d | #ffb74d | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation.
SHS | 7 | Throughput | B - Protecting against cyber attack | 24.2203 | Low | #ffd54f | #ffd54f | Investigate bandwidth/path, QoS, encryption, routing.
SHS | 8 | Throughput | B - Protecting against cyber attack | 24.354 | Low | #ffd54f | #ffd54f | Investigate bandwidth/path, QoS, encryption, routing.
SHS | 9 | Delay | D - Minimising impact of incidents | 100 | Critical | #e57373 | #b71c1c | CRITICAL: Complete packet loss detected. Investigate latency sources, queueing; implement redundancy/QoS. Emergency response required.

## NHS Risk Register
Device | FlowID | Likelihood | Impact | Risk | RAG | ASI | RiskLabel | RiskLabel_Color
WIP | 1 | 4 | 2 | 8 | Orange | 69.9419 | High | #e57373
WIP | 2 | 4 | 2 | 8 | Orange | 54.3362 | High | #e57373
WIP | 3 | 4 | 2 | 8 | Orange | 51.4836 | High | #e57373
WIP | 4 | 3 | 2 | 6 | Amber | 49.6226 | Medium | #ffb74d
WIP | 5 | 3 | 2 | 6 | Amber | 48.9083 | Medium | #ffb74d
WIP | 6 | 3 | 2 | 6 | Amber | 41.8382 | Medium | #ffb74d
WIP | 7 | 4 | 2 | 8 | Orange | 51.6498 | High | #e57373
WIP | 8 | 3 | 2 | 6 | Amber | 49.2143 | Medium | #ffb74d
WIP | 9 | 5 | 3 | 15 | Red | 100 | Critical | #b71c1c
SHS | 1 | 5 | 3 | 15 | Red | 79.9702 | Critical | #b71c1c
SHS | 2 | 4 | 2 | 8 | Orange | 57.4478 | High | #e57373
SHS | 3 | 3 | 2 | 6 | Amber | 48.4197 | Medium | #ffb74d
SHS | 4 | 3 | 2 | 6 | Amber | 34.2061 | Medium | #ffb74d
SHS | 5 | 3 | 1 | 3 | Green | 26.1 | Medium | #ffb74d
SHS | 6 | 3 | 1 | 3 | Green | 26.8465 | Medium | #ffb74d
SHS | 7 | 2 | 1 | 2 | Green | 24.2203 | Low | #ffd54f
SHS | 8 | 2 | 1 | 2 | Green | 24.354 | Low | #ffd54f
SHS | 9 | 5 | 3 | 15 | Red | 100 | Critical | #b71c1c

## HL7 FHIR Mapping
Device | FlowID | FHIR_Dimension | ASI | RiskLabel | ASI_Severity_Color | RiskLabel_Color
WIP | 1 | Availability | 69.9419 | High | #e57373 | #e57373
WIP | 2 | Availability | 54.3362 | High | #e57373 | #e57373
WIP | 3 | Availability | 51.4836 | High | #e57373 | #e57373
WIP | 4 | Availability | 49.6226 | Medium | #ffb74d | #ffb74d
WIP | 5 | Availability | 48.9083 | Medium | #ffb74d | #ffb74d
WIP | 6 | Availability | 41.8382 | Medium | #ffb74d | #ffb74d
WIP | 7 | Availability | 51.6498 | High | #e57373 | #e57373
WIP | 8 | Availability | 49.2143 | Medium | #ffb74d | #ffb74d
WIP | 9 | Availability | 100 | Critical | #e57373 | #b71c1c
SHS | 1 | Availability | 79.9702 | Critical | #e57373 | #b71c1c
SHS | 2 | Integrity | 57.4478 | High | #e57373 | #e57373
SHS | 3 | Availability | 48.4197 | Medium | #ffb74d | #ffb74d
SHS | 4 | Availability | 34.2061 | Medium | #ffb74d | #ffb74d
SHS | 5 | Availability | 26.1 | Medium | #ffb74d | #ffb74d
SHS | 6 | Availability | 26.8465 | Medium | #ffb74d | #ffb74d
SHS | 7 | Availability | 24.2203 | Low | #ffd54f | #ffd54f
SHS | 8 | Availability | 24.354 | Low | #ffd54f | #ffd54f
SHS | 9 | Availability | 100 | Critical | #e57373 | #b71c1c

## DoS Risk Plan
Device | FlowID | DoS_Risk | Mitigation | RiskLabel_Color
WIP | 1 | High | Investigate bandwidth/path, QoS, encryption, routing. Escalate immediately; incident response. | #e57373
WIP | 2 | High | Investigate bandwidth/path, QoS, encryption, routing. Escalate immediately; incident response. | #e57373
WIP | 3 | High | Investigate bandwidth/path, QoS, encryption, routing. Escalate immediately; incident response. | #e57373
WIP | 4 | Medium | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation. | #ffb74d
WIP | 5 | Medium | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation. | #ffb74d
WIP | 6 | Medium | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation. | #ffb74d
WIP | 7 | High | Investigate bandwidth/path, QoS, encryption, routing. Escalate immediately; incident response. | #e57373
WIP | 8 | Medium | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation. | #ffb74d
WIP | 9 | Critical | CRITICAL: Complete packet loss detected. Investigate bandwidth/path, QoS, encryption, routing. Emergency response required. | #b71c1c
SHS | 1 | Critical | Investigate latency sources, queueing; implement redundancy/QoS. Escalate immediately; incident response. | #b71c1c
SHS | 2 | High | Examine scheduling/buffers; apply smoothing/buffering. Escalate immediately; incident response. | #e57373
SHS | 3 | Medium | Investigate latency sources, queueing; implement redundancy/QoS. Increase monitoring & schedule remediation. | #ffb74d
SHS | 4 | Medium | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation. | #ffb74d
SHS | 5 | Medium | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation. | #ffb74d
SHS | 6 | Medium | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation. | #ffb74d
SHS | 7 | Low | Investigate bandwidth/path, QoS, encryption, routing. | #ffd54f
SHS | 8 | Low | Investigate bandwidth/path, QoS, encryption, routing. | #ffd54f
SHS | 9 | Critical | CRITICAL: Complete packet loss detected. Investigate latency sources, queueing; implement redundancy/QoS. Emergency response required. | #b71c1c

## ISO 27001 Mapping
Device | FlowID | ISO27001_ControlGap | ASI | RiskLabel | RiskLabel_Color
WIP | 1 | Yes | 69.9419 | High | #e57373
WIP | 2 | Yes | 54.3362 | High | #e57373
WIP | 3 | Yes | 51.4836 | High | #e57373
WIP | 4 | No | 49.6226 | Medium | #ffb74d
WIP | 5 | No | 48.9083 | Medium | #ffb74d
WIP | 6 | No | 41.8382 | Medium | #ffb74d
WIP | 7 | Yes | 51.6498 | High | #e57373
WIP | 8 | No | 49.2143 | Medium | #ffb74d
WIP | 9 | Yes | 100 | Critical | #b71c1c
SHS | 1 | Yes | 79.9702 | Critical | #b71c1c
SHS | 2 | Yes | 57.4478 | High | #e57373
SHS | 3 | No | 48.4197 | Medium | #ffb74d
SHS | 4 | No | 34.2061 | Medium | #ffb74d
SHS | 5 | No | 26.1 | Medium | #ffb74d
SHS | 6 | No | 26.8465 | Medium | #ffb74d
SHS | 7 | No | 24.2203 | Low | #ffd54f
SHS | 8 | No | 24.354 | Low | #ffd54f
SHS | 9 | Yes | 100 | Critical | #b71c1c

## ISO 27005 Mapping
Device | FlowID | ISO27005_Severity | ISO27005_Risk | RiskLabel_Color
WIP | 1 | High | High | #e57373
WIP | 2 | High | High | #e57373
WIP | 3 | High | High | #e57373
WIP | 4 | Medium | Medium | #ffb74d
WIP | 5 | Medium | Medium | #ffb74d
WIP | 6 | Medium | Medium | #ffb74d
WIP | 7 | High | High | #e57373
WIP | 8 | Medium | Medium | #ffb74d
WIP | 9 | High | Critical | #b71c1c
SHS | 1 | High | Critical | #b71c1c
SHS | 2 | High | High | #e57373
SHS | 3 | Medium | Medium | #ffb74d
SHS | 4 | Medium | Medium | #ffb74d
SHS | 5 | Medium | Medium | #ffb74d
SHS | 6 | Medium | Medium | #ffb74d
SHS | 7 | Low | Low | #ffd54f
SHS | 8 | Low | Low | #ffd54f
SHS | 9 | High | Critical | #b71c1c

## FDA Risk Mapping
Risk ID | Hazardous Situation | Clinical Harm Severity | Probability (1-5) | Existing Controls | Suggested Controls | Residual Risk Acceptable | ASI_Severity_Color | RiskLabel_Color
WIP_F1 | Network degradation (Throughput) affecting device WIP, flow 1 | High | 4 | Network segmentation, baseline monitoring | Investigate bandwidth/path, QoS, encryption, routing. Escalate immediately; incident response. | No | #e57373 | #e57373
WIP_F2 | Network degradation (Throughput) affecting device WIP, flow 2 | High | 4 | Network segmentation, baseline monitoring | Investigate bandwidth/path, QoS, encryption, routing. Escalate immediately; incident response. | No | #e57373 | #e57373
WIP_F3 | Network degradation (Throughput) affecting device WIP, flow 3 | High | 4 | Network segmentation, baseline monitoring | Investigate bandwidth/path, QoS, encryption, routing. Escalate immediately; incident response. | No | #e57373 | #e57373
WIP_F4 | Network degradation (Throughput) affecting device WIP, flow 4 | Medium | 3 | Network segmentation, baseline monitoring | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation. | Yes | #ffb74d | #ffb74d
WIP_F5 | Network degradation (Throughput) affecting device WIP, flow 5 | Medium | 3 | Network segmentation, baseline monitoring | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation. | Yes | #ffb74d | #ffb74d
WIP_F6 | Network degradation (Throughput) affecting device WIP, flow 6 | Medium | 3 | Network segmentation, baseline monitoring | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation. | Yes | #ffb74d | #ffb74d
WIP_F7 | Network degradation (Throughput) affecting device WIP, flow 7 | High | 4 | Network segmentation, baseline monitoring | Investigate bandwidth/path, QoS, encryption, routing. Escalate immediately; incident response. | No | #e57373 | #e57373
WIP_F8 | Network degradation (Throughput) affecting device WIP, flow 8 | Medium | 3 | Network segmentation, baseline monitoring | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation. | Yes | #ffb74d | #ffb74d
WIP_F9 | Network degradation (Throughput) affecting device WIP, flow 9 | High | 5 | Network segmentation, baseline monitoring | CRITICAL: Complete packet loss detected. Investigate bandwidth/path, QoS, encryption, routing. Emergency response required. | No | #e57373 | #b71c1c
SHS_F1 | Network degradation (Delay) affecting device SHS, flow 1 | High | 5 | Network segmentation, baseline monitoring | Investigate latency sources, queueing; implement redundancy/QoS. Escalate immediately; incident response. | No | #e57373 | #b71c1c
SHS_F2 | Network degradation (Jitter) affecting device SHS, flow 2 | High | 4 | Network segmentation, baseline monitoring | Examine scheduling/buffers; apply smoothing/buffering. Escalate immediately; incident response. | No | #e57373 | #e57373
SHS_F3 | Network degradation (Delay) affecting device SHS, flow 3 | Medium | 3 | Network segmentation, baseline monitoring | Investigate latency sources, queueing; implement redundancy/QoS. Increase monitoring & schedule remediation. | Yes | #ffb74d | #ffb74d
SHS_F4 | Network degradation (Throughput) affecting device SHS, flow 4 | Medium | 3 | Network segmentation, baseline monitoring | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation. | Yes | #ffb74d | #ffb74d
SHS_F5 | Network degradation (Throughput) affecting device SHS, flow 5 | Medium | 3 | Network segmentation, baseline monitoring | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation. | Yes | #ffb74d | #ffb74d
SHS_F6 | Network degradation (Throughput) affecting device SHS, flow 6 | Medium | 3 | Network segmentation, baseline monitoring | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation. | Yes | #ffb74d | #ffb74d
SHS_F7 | Network degradation (Throughput) affecting device SHS, flow 7 | Low | 2 | Network segmentation, baseline monitoring | Investigate bandwidth/path, QoS, encryption, routing. | Yes | #ffd54f | #ffd54f
SHS_F8 | Network degradation (Throughput) affecting device SHS, flow 8 | Low | 2 | Network segmentation, baseline monitoring | Investigate bandwidth/path, QoS, encryption, routing. | Yes | #ffd54f | #ffd54f
SHS_F9 | Network degradation (Delay) affecting device SHS, flow 9 | High | 5 | Network segmentation, baseline monitoring | CRITICAL: Complete packet loss detected. Investigate latency sources, queueing; implement redundancy/QoS. Emergency response required. | No | #e57373 | #b71c1c

## ISO27400_ThreatMapping
Device | FlowID | ThreatCategory | DominantMetric | ASI | RiskLabel
WIP | 1 | Network interception / message tampering | Throughput | 69.9419 | High
WIP | 2 | Network interception / message tampering | Throughput | 54.3362 | High
WIP | 3 | Network interception / message tampering | Throughput | 51.4836 | High
WIP | 4 | Network interception / message tampering | Throughput | 49.6226 | Medium
WIP | 5 | Network interception / message tampering | Throughput | 48.9083 | Medium
WIP | 6 | Network interception / message tampering | Throughput | 41.8382 | Medium
WIP | 7 | Network interception / message tampering | Throughput | 51.6498 | High
WIP | 8 | Network interception / message tampering | Throughput | 49.2143 | Medium
WIP | 9 | Network interception / message tampering | Throughput | 100 | Critical
SHS | 1 | Network interception / message tampering | Delay | 79.9702 | Critical
SHS | 2 | Network interception / message tampering | Jitter | 57.4478 | High
SHS | 3 | Network interception / message tampering | Delay | 48.4197 | Medium
SHS | 4 | Network interception / message tampering | Throughput | 34.2061 | Medium
SHS | 5 | Network interception / message tampering | Throughput | 26.1 | Medium
SHS | 6 | Network interception / message tampering | Throughput | 26.8465 | Medium
SHS | 7 | Network interception / message tampering | Throughput | 24.2203 | Low
SHS | 8 | Network interception / message tampering | Throughput | 24.354 | Low
SHS | 9 | Network interception / message tampering | Delay | 100 | Critical

## ISO27799_Compliance
Device | FlowID | CIA_Compliance | ASI | RiskLabel
WIP | 1 | Non-Compliant | 69.9419 | High
WIP | 2 | Non-Compliant | 54.3362 | High
WIP | 3 | Non-Compliant | 51.4836 | High
WIP | 4 | Non-Compliant | 49.6226 | Medium
WIP | 5 | Non-Compliant | 48.9083 | Medium
WIP | 6 | Non-Compliant | 41.8382 | Medium
WIP | 7 | Non-Compliant | 51.6498 | High
WIP | 8 | Non-Compliant | 49.2143 | Medium
WIP | 9 | Non-Compliant | 100 | Critical
SHS | 1 | Non-Compliant | 79.9702 | Critical
SHS | 2 | Non-Compliant | 57.4478 | High
SHS | 3 | Non-Compliant | 48.4197 | Medium
SHS | 4 | Non-Compliant | 34.2061 | Medium
SHS | 5 | Non-Compliant | 26.1 | Medium
SHS | 6 | Non-Compliant | 26.8465 | Medium
SHS | 7 | Compliant | 24.2203 | Low
SHS | 8 | Compliant | 24.354 | Low
SHS | 9 | Non-Compliant | 100 | Critical

## ISO27701_PrivacyMap
Device | FlowID | PrivacyImpactLevel | ASI | RiskLabel
WIP | 1 | High | 69.9419 | High
WIP | 2 | High | 54.3362 | High
WIP | 3 | High | 51.4836 | High
WIP | 4 | Medium | 49.6226 | Medium
WIP | 5 | Medium | 48.9083 | Medium
WIP | 6 | Medium | 41.8382 | Medium
WIP | 7 | High | 51.6498 | High
WIP | 8 | Medium | 49.2143 | Medium
WIP | 9 | High | 100 | Critical
SHS | 1 | High | 79.9702 | Critical
SHS | 2 | High | 57.4478 | High
SHS | 3 | Medium | 48.4197 | Medium
SHS | 4 | Medium | 34.2061 | Medium
SHS | 5 | Medium | 26.1 | Medium
SHS | 6 | Medium | 26.8465 | Medium
SHS | 7 | Low | 24.2203 | Low
SHS | 8 | Low | 24.354 | Low
SHS | 9 | High | 100 | Critical

## IEC62443_NetworkZones
Device | FlowID | IEC62443_Zone | IEC62443_RecSL | ASI | RiskLabel
WIP | 1 | IEC62443 Zone 1 (Clinical Wi-Fi LAN) | 3 | 69.9419 | High
WIP | 2 | IEC62443 Zone 1 (Clinical Wi-Fi LAN) | 3 | 54.3362 | High
WIP | 3 | IEC62443 Zone 1 (Clinical Wi-Fi LAN) | 3 | 51.4836 | High
WIP | 4 | IEC62443 Zone 1 (Clinical Wi-Fi LAN) | 3 | 49.6226 | Medium
WIP | 5 | IEC62443 Zone 1 (Clinical Wi-Fi LAN) | 3 | 48.9083 | Medium
WIP | 6 | IEC62443 Zone 1 (Clinical Wi-Fi LAN) | 3 | 41.8382 | Medium
WIP | 7 | IEC62443 Zone 1 (Clinical Wi-Fi LAN) | 3 | 51.6498 | High
WIP | 8 | IEC62443 Zone 1 (Clinical Wi-Fi LAN) | 3 | 49.2143 | Medium
WIP | 9 | IEC62443 Zone 1 (Clinical Wi-Fi LAN) | 3 | 100 | Critical
SHS | 1 | IEC62443 Zone 2 (Bluetooth P2P / Companion Device) | 2 | 79.9702 | Critical
SHS | 2 | IEC62443 Zone 2 (Bluetooth P2P / Companion Device) | 2 | 57.4478 | High
SHS | 3 | IEC62443 Zone 2 (Bluetooth P2P / Companion Device) | 2 | 48.4197 | Medium
SHS | 4 | IEC62443 Zone 2 (Bluetooth P2P / Companion Device) | 2 | 34.2061 | Medium
SHS | 5 | IEC62443 Zone 2 (Bluetooth P2P / Companion Device) | 2 | 26.1 | Medium
SHS | 6 | IEC62443 Zone 2 (Bluetooth P2P / Companion Device) | 2 | 26.8465 | Medium
SHS | 7 | IEC62443 Zone 2 (Bluetooth P2P / Companion Device) | 2 | 24.2203 | Low
SHS | 8 | IEC62443 Zone 2 (Bluetooth P2P / Companion Device) | 2 | 24.354 | Low
SHS | 9 | IEC62443 Zone 2 (Bluetooth P2P / Companion Device) | 2 | 100 | Critical

## ISO13485_DeviceRisk
Device | FlowID | ISO13485_Note | ASI | RiskLabel
WIP | 1 | ISO13485-aligned device QMS required | 69.9419 | High
WIP | 2 | ISO13485-aligned device QMS required | 54.3362 | High
WIP | 3 | ISO13485-aligned device QMS required | 51.4836 | High
WIP | 4 | ISO13485-aligned device QMS required | 49.6226 | Medium
WIP | 5 | ISO13485-aligned device QMS required | 48.9083 | Medium
WIP | 6 | ISO13485-aligned device QMS required | 41.8382 | Medium
WIP | 7 | ISO13485-aligned device QMS required | 51.6498 | High
WIP | 8 | ISO13485-aligned device QMS required | 49.2143 | Medium
WIP | 9 | ISO13485-aligned device QMS required | 100 | Critical
SHS | 1 | ISO13485-aligned device QMS required | 79.9702 | Critical
SHS | 2 | ISO13485-aligned device QMS required | 57.4478 | High
SHS | 3 | ISO13485-aligned device QMS required | 48.4197 | Medium
SHS | 4 | ISO13485-aligned device QMS required | 34.2061 | Medium
SHS | 5 | ISO13485-aligned device QMS required | 26.1 | Medium
SHS | 6 | ISO13485-aligned device QMS required | 26.8465 | Medium
SHS | 7 | ISO13485-aligned device QMS required | 24.2203 | Low
SHS | 8 | ISO13485-aligned device QMS required | 24.354 | Low
SHS | 9 | ISO13485-aligned device QMS required | 100 | Critical

## ISO_Metadata
Key | Value
CRITICALITY_METHOD | Explicit factors based on ISO 14971 RPNs and ISO 11073 device class semantics
DEVICE_RPN | {'wip': 15, 'shs': 10}
DEVICE_CRITICALITY | {'wip': {'factor': 1.0, 'thresholds': {'Warning': 50, 'Action': 70, 'Critical': 90}, 'source': 'ISO 14971 Table B.1, Life-support class'}, 'shs': {'factor': 0.85, 'thresholds': {'Warning': 55, 'Action': 70, 'Critical': 85}, 'source': 'ISO 14971 Table B.2, Diagnostic class'}}
Citation_1 | ISO 14971:2019 §5–7 (Risk analysis and evaluation)
Citation_2 | ISO/IEEE 11073-10101 (Device data semantics)
Citation_3 | IEC 80001-1:2021 (Application of risk management for IT-networked medical devices)
Citation_4 | ISO/IEC 27400:2022 (IoT cybersecurity and privacy guidance)
Citation_5 | ISO 27799:2016 (Health informatics - information security management in health)
Citation_6 | ISO/IEC 27701:2019 (PIMS extension to ISO/IEC 27001/27002)
Citation_7 | ISO 13485:2016 (Medical devices - QMS)
Citation_8 | IEC 62443 (Industrial communications - networked system security)
AdditionalStandard_ISO/IEC 27400:2022 | IoT security and privacy — Threat taxonomy and IoT-specific guidance
AdditionalStandard_ISO 27799 | Health informatics — information security management in health
AdditionalStandard_ISO/IEC 27701 | Privacy information management — PIMS extension to ISO/IEC 27001
AdditionalStandard_ISO 13485:2016 | Medical devices — Quality management systems
AdditionalStandard_IEC 62443 | Industrial communication networks — OT/ICS security (zone/conduit model)