# IoMT MITM Attack - Comprehensive Risk Assessment & Security Plan

Generated by IoMT Merged Pipeline

This report includes FDA risk assessment, NHS risk register, CAF-DSPT mapping, and ISO 27001/27005 compliance. It has been extended to include ISO/IEC 27400, ISO 27799, ISO/IEC 27701, ISO 13485 and IEC 62443 mappings.

## Executive Summary

Total Flows Analyzed: 18

Severity Distribution: {'High': 8, 'Medium': 8, 'Low': 2}

Risk Level Distribution: {'Medium': 8, 'High': 5, 'Critical': 3, 'Low': 2}

CRITICAL: 2 flows experienced complete packet loss!

These flows show maximum network disruption with zero packet reception.

## Top 10 Most Severe Flows

| Device | FlowID | ASI_score | ASI_Severity | RiskLabel | NHS_RAG | DominantMetric | Mitigation | ThreatCategory | PrivacyImpactLevel |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SHS | 9 | 100.0 | High | Critical | Red | Delay | CRITICAL: Complete packet loss detected. Investigate latency sources, queueing; implement redundancy/QoS. Emergency response required. | Network interception / message tampering | High |
| WIP | 9 | 100.0 | High | Critical | Red | Throughput | CRITICAL: Complete packet loss detected. Investigate bandwidth/path, QoS, encryption, routing. Emergency response required. | Network interception / message tampering | High |
| SHS | 1 | 79.97023514105507 | High | Critical | Red | Delay | Investigate latency sources, queueing; implement redundancy/QoS. Escalate immediately; incident response. | Network interception / message tampering | High |
| WIP | 1 | 69.94191075418962 | High | High | Orange | Throughput | Investigate bandwidth/path, QoS, encryption, routing. Escalate immediately; incident response. | Network interception / message tampering | High |
| SHS | 2 | 57.447824118880305 | High | High | Orange | Jitter | Examine scheduling/buffers; apply smoothing/buffering. Escalate immediately; incident response. | Network interception / message tampering | High |
| WIP | 2 | 54.33621149229963 | High | High | Orange | Throughput | Investigate bandwidth/path, QoS, encryption, routing. Escalate immediately; incident response. | Network interception / message tampering | High |
| WIP | 7 | 51.649789936057005 | High | High | Orange | Throughput | Investigate bandwidth/path, QoS, encryption, routing. Escalate immediately; incident response. | Network interception / message tampering | High |
| WIP | 3 | 51.48355885963913 | High | High | Orange | Throughput | Investigate bandwidth/path, QoS, encryption, routing. Escalate immediately; incident response. | Network interception / message tampering | High |
| WIP | 4 | 49.62262237101359 | Medium | Medium | Amber | Throughput | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation. | Network interception / message tampering | Medium |
| WIP | 8 | 49.21433815846005 | Medium | Medium | Amber | Throughput | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation. | Network interception / message tampering | Medium |

## Device: WIP

Total flows: 9

Critical/High risk flows: 5

WARNING: 1 flows with complete packet loss detected!

- Flow 9: ASI=100.0, Risk=Critical

Standards Mappings (sample):

| FlowID | ThreatCategory (ISO27400) | IEC62443 Zone | PrivacyImpact (27701) | CIA_Compliant (27799) |
| --- | --- | --- | --- | --- |
| 1 | Network interception / message tampering | IEC62443 Zone 1 (Clinical Wi-Fi LAN) | High | Non-Compliant |
| 2 | Network interception / message tampering | IEC62443 Zone 1 (Clinical Wi-Fi LAN) | High | Non-Compliant |
| 3 | Network interception / message tampering | IEC62443 Zone 1 (Clinical Wi-Fi LAN) | High | Non-Compliant |
| 4 | Network interception / message tampering | IEC62443 Zone 1 (Clinical Wi-Fi LAN) | Medium | Non-Compliant |
| 5 | Network interception / message tampering | IEC62443 Zone 1 (Clinical Wi-Fi LAN) | Medium | Non-Compliant |

### WIP - FDA Risk Assessment

| Risk ID | Hazard | Severity | Probability | Controls | Mitigation | Acceptable |
| --- | --- | --- | --- | --- | --- | --- |
| WIP_F1 | Network degradation (Throughput) | High | 4 | Network segmentation, baseline monitoring | Investigate bandwidth/path, QoS, encryption, routing. Escalate immediately; incident response. | No |
| WIP_F2 | Network degradation (Throughput) | High | 4 | Network segmentation, baseline monitoring | Investigate bandwidth/path, QoS, encryption, routing. Escalate immediately; incident response. | No |
| WIP_F3 | Network degradation (Throughput) | High | 4 | Network segmentation, baseline monitoring | Investigate bandwidth/path, QoS, encryption, routing. Escalate immediately; incident response. | No |
| WIP_F4 | Network degradation (Throughput) | Medium | 3 | Network segmentation, baseline monitoring | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation. | Yes |
| WIP_F5 | Network degradation (Throughput) | Medium | 3 | Network segmentation, baseline monitoring | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation. | Yes |
| WIP_F6 | Network degradation (Throughput) | Medium | 3 | Network segmentation, baseline monitoring | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation. | Yes |
| WIP_F7 | Network degradation (Throughput) | High | 4 | Network segmentation, baseline monitoring | Investigate bandwidth/path, QoS, encryption, routing. Escalate immediately; incident response. | No |
| WIP_F8 | Network degradation (Throughput) | Medium | 3 | Network segmentation, baseline monitoring | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation. | Yes |
| WIP_F9 | Network degradation (Throughput) | High | 5 | Network segmentation, baseline monitoring | CRITICAL: Complete packet loss detected. Investigate bandwidth/path, QoS, encryption, routing. Emergency response required. | No |

## Device: SHS

Total flows: 9

Critical/High risk flows: 3

WARNING: 1 flows with complete packet loss detected!

- Flow 9: ASI=100.0, Risk=Critical

Standards Mappings (sample):

| FlowID | ThreatCategory (ISO27400) | IEC62443 Zone | PrivacyImpact (27701) | CIA_Compliant (27799) |
| --- | --- | --- | --- | --- |
| 1 | Network interception / message tampering | IEC62443 Zone 2 (Bluetooth P2P / Companion Device) | High | Non-Compliant |
| 2 | Network interception / message tampering | IEC62443 Zone 2 (Bluetooth P2P / Companion Device) | High | Non-Compliant |
| 3 | Network interception / message tampering | IEC62443 Zone 2 (Bluetooth P2P / Companion Device) | Medium | Non-Compliant |
| 4 | Network interception / message tampering | IEC62443 Zone 2 (Bluetooth P2P / Companion Device) | Medium | Non-Compliant |
| 5 | Network interception / message tampering | IEC62443 Zone 2 (Bluetooth P2P / Companion Device) | Medium | Non-Compliant |

### SHS - FDA Risk Assessment

| Risk ID | Hazard | Severity | Probability | Controls | Mitigation | Acceptable |
| --- | --- | --- | --- | --- | --- | --- |
| SHS_F1 | Network degradation (Delay) | High | 5 | Network segmentation, baseline monitoring | Investigate latency sources, queueing; implement redundancy/QoS. Escalate immediately; incident response. | No |
| SHS_F2 | Network degradation (Jitter) | High | 4 | Network segmentation, baseline monitoring | Examine scheduling/buffers; apply smoothing/buffering. Escalate immediately; incident response. | No |
| SHS_F3 | Network degradation (Delay) | Medium | 3 | Network segmentation, baseline monitoring | Investigate latency sources, queueing; implement redundancy/QoS. Increase monitoring & schedule remediation. | Yes |
| SHS_F4 | Network degradation (Throughput) | Medium | 3 | Network segmentation, baseline monitoring | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation. | Yes |
| SHS_F5 | Network degradation (Throughput) | Medium | 3 | Network segmentation, baseline monitoring | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation. | Yes |
| SHS_F6 | Network degradation (Throughput) | Medium | 3 | Network segmentation, baseline monitoring | Investigate bandwidth/path, QoS, encryption, routing. Increase monitoring & schedule remediation. | Yes |
| SHS_F7 | Network degradation (Throughput) | Low | 2 | Network segmentation, baseline monitoring | Investigate bandwidth/path, QoS, encryption, routing. | Yes |
| SHS_F8 | Network degradation (Throughput) | Low | 2 | Network segmentation, baseline monitoring | Investigate bandwidth/path, QoS, encryption, routing. | Yes |
| SHS_F9 | Network degradation (Delay) | High | 5 | Network segmentation, baseline monitoring | CRITICAL: Complete packet loss detected. Investigate latency sources, queueing; implement redundancy/QoS. Emergency response required. | No |

## Recommendations

URGENT: The following flows require immediate attention:

• WIP Flow 1: Investigate bandwidth/path, QoS, encryption, routing. Escalate immediately; incident response.

• WIP Flow 2: Investigate bandwidth/path, QoS, encryption, routing. Escalate immediately; incident response.

• WIP Flow 3: Investigate bandwidth/path, QoS, encryption, routing. Escalate immediately; incident response.

• WIP Flow 7: Investigate bandwidth/path, QoS, encryption, routing. Escalate immediately; incident response.

• WIP Flow 9: CRITICAL: Complete packet loss detected. Investigate bandwidth/path, QoS, encryption, routing. Emergency response required.

• SHS Flow 1: Investigate latency sources, queueing; implement redundancy/QoS. Escalate immediately; incident response.

• SHS Flow 2: Examine scheduling/buffers; apply smoothing/buffering. Escalate immediately; incident response.

• SHS Flow 9: CRITICAL: Complete packet loss detected. Investigate latency sources, queueing; implement redundancy/QoS. Emergency response required.

Detailed metrics available in Excel workbook and CSV files in analysis/ directory.